## Slide 1
Getting your Project Funded Energy Project
Implementation Process
Presented to:
NJHEPS/NJAPPA
January 20, 2012

## Slide 3
Direct Install: Walk through audit
procured through NJCEP, proscribed equipment can be installed immediately
Local Government Energy Audit Program: Funded through NJCEP,
procured through state term contract
lighting investment grade ASHREA level 2
Development of an Energy Reduction Plan (ERP)
Pay for Performance: Audit funded through partners,
procured through professional services
Investment grade
Energy Efficiency including CHP and/or Renewable procured through an ESCO
Energy Efficiency including CHP and/or Renewable self perform
Step 1. Define the Project
Perform an Energy Audit - use one of the NJCEP incentive programs
Step 2. With Energy Audit complete, develop an Energy Reduction Plan (ERP) as required by NJCEP and/or ESIP
Step 4. Link financing with incentives
Step 5. Start saving energy, reduce operational cost and greenhouse gas emissions
Step 3. Finance the installation and construction through ESIP
Energy Efficiency
Direct Install (DI) for facilities w/loads < 100 kW
Pay for Performance P4P) for facilities w/loads > 100 kW
CHP incentive up to 1 MW P4P additional incentive
CHP > than 1 MW proposed new funding in next Clean Energy cycle $50 million
Fuel Cells existing rebate for sustainably fueled $4/watt
Smart Start rebates
Renewable Energy
Solar, wind & biomass onsite rebates
Solar, wind & biomass grid supply
all size facilities
loads < 100 kW
loads > 100 kW
Energy Project Decision Flowchart
Step 5. Start saving energy, reduce operational costs and greenhouse gas emissions

## Slide 4
ESIP Lessons Learned
Program
  Program conflicts: an early start doing just lighting can
  undermine ESIP net cost savings payback requirement
  Cost and Other Factors does not mean cost
  does not matter real justification required
  When allowing a ESCO to use their own DDC
  equipment the ESCO selection RFP should require this
  to be a firm bid price not an allowance
Financing
  SREC’s not allowed in payback; high values
  can game payback $500 vs current $150
  Consultants preparing ESIP RFP’s can not
  award themselves no bid architectural or
  engineering contracts

## Slide 5
Alternative Financing and Funding
Funding
  NJ Clean Energy Program
  LGEA
  Pay for Performance
  NJ Smart Start Buildings/Direct Install
  DOE Grants/Loans
  EDA Loans
  P3 Public Private partnerships
  PJM Incentives (DR)
Financing
  ESIP EE 15 years 20 years for GHP & CHP
  Privatized CHP and Geothermal potential for
  large systems
  P3 projects up to 30 years off balance sheet
  PPA renewable
  EDA Loans
  Higher Ed Financing Authority

## Slide 6
Project Examples
Stockton State ATES
  Built on success of Geothermal
  Strong support from admin and faculty
  Name Brand Recognition
  BPU CEP support financially
MSU Central Utility Plant and CHP
  P3 long term option
  Privatized CCHP and major distribution system
  Campus growth necessitated relocation
  Strong support from VP to Pres

## Slide 7
Project Examples
New Lisbon Developmental Center
  NJ Clean Energy Program ARRA Funds
  System failing with high risk population
  Pay for Performance supplemented fed grant
  DHS Desperate for solution to failing boilers
  and chillers.
Rutgers Business School GHP
  GHP best choice due to limits on CHP and thermal balance
  Minor CEP grant avail but also met GHG goals
  large systems
Rowan 69 KV Substation
  Campus growth exceeded availa capacity

## Slide 8
Reasons Projects do Not Succeed
Competition For Capitol
  What is sexier a new chiller plant or a Wellness Center?
  What is the primary need/mission
Lack of Adequate Schedule
  State late start ARRA projects
Lack of a Strong Project Advocate
Organizational BS bidding and management
rules
Lawyers
  why not not how to

## Slide 9
Motivations Other Than Money
Presidents Climate Change Commitment
Student Involvement
curiculum
Faculty Involvement links to research or
Equipment or Systems Failure (usually too late to allow
for effective deployment or optimal decision)
Campus Growth Exceeds infrastructure Capacity
Life Safety Issues
Money still is persuasive

## Slide 10
Summary/Q & A
THANK YOU FOR YOUR TIME TODAY
Contact:
Joe Sullivan
Vice President, Energy Policy & Development
jsullivan@concord-engineering.com
(856) 427-0200 x122